|  |  |
| --- | --- |
| **QUESTION** | **Application** |
| **SC7.1** | **Is Street Sweeping applied as required?** |
| **SPECs, 13-4.03F Sweeping** | Sweep paved roads at construction entrance and exit locations and paved areas within the job site:  1. During clearing and grubbing activities 2. During earthwork activities 3. During trenching activities  4. During pavement structure activities 5. When vehicles are entering and leaving the job site 6. After soil-disturbing activities  7. After observing off-site tracking of material  Monitor paved areas and roadways within the project. Sweep within:  1. 1 hour whenever sediment or debris is observed during activities that require sweeping  2. 24 hours whenever sediment or debris is observed during activities that do not require sweeping |
| **SPECs, 13-7.03A General** | When material is tracked onto the pavement, remove it within 6 hours, unless the Engineer authorizes a longer period. **(At a stabilized construction exit/entrance)** |
| **SPECs, 13-7.03D Street Sweeping** | At least 1 street sweeper must be kept at the job site at all times when street sweeping work is required. The street sweeper must be in good working order. |
| **CGP, Attachment C.E.6, D.E.6, E.E.6** | Risk Level 2 and 3 dischargers shall inspect on a daily basis all immediate access roads daily. At a minimum daily (when necessary) and prior to a rain event, the discharger shall remove any sediment or other construction activity-related materials that are deposited on the roads (by vacuuming or sweeping). |

|  |  |
| --- | --- |
|  | **Implementation** |
| **SC7.2** | **Is Street Sweeping implemented properly?** |
| **SPECs, 13-4.03F Sweeping** | Sweep by hand or mechanical methods, such as vacuuming. Do not use methods that use only mechanical kick brooms.  Remove collected material, including sediment, from paved shoulders, drain inlets, curbs and dikes, and other drainage areas. You may stockpile collected material at the job site. Dispose of collected material at least once per week if stockpiled.  You may dispose of sediment within the job site collected during sweeping activities. Protect the disposal areas against erosion.  Keep dust to a minimum during street sweeping activities. Use water or a vacuum whenever dust generation is excessive or sediment pickup is ineffective.  Remove and dispose of trash collected during sweeping. |
| **SPECs, 13-7.02A Materials** | The street sweeper must be one of the following:  1. Mechanical sweeper followed by a vacuum-assisted sweeper 2. Vacuum-assisted dry, waterless, sweeper 3. Regenerative-air sweeper |
| **CGP, Order A.6** | Discharge of wastes or wastewater from road-sweeping vehicles or from other maintenance activities to any waters of the United States or to any storm drain leading to waters of the United States is prohibited unless in compliance with section E.2.h.3)c)ii) of this Order or authorized by another NPDES permit. |
| **CGP, Attachment C.C.3; D.C.3; E.C.3** | Risk Level 1, 2 and 3 dischargers shall clean streets in such a manner as to prevent unauthorized non-storm water discharges from reaching surface water or MS4 drainage systems. |
| **CGP, Order IV.E Proper Operation and Maintenance** | The discharger shall at all times properly operate and maintain any facilities and systems of treatment and control (and related appurtenances) which are installed or used by the discharger to achieve compliance with the conditions of this General Permit. Proper operation and maintenance also includes adequate laboratory controls and appropriate quality assurance procedures. Proper operation and maintenance may require the operation of backup or auxiliary facilities or similar systems installed by a discharger when necessary to achieve compliance with the conditions of this General Permit. |